## Sheet1
DESCRIPTION: | Kjeltec™ 9 Distillator
DETAILS: | Kjeltec 9 Distillator, 200-240V 50/60Hz 60093700
1pc,60089548,Basic unit Kjeltec 9 Distillator
1 pc, 60100559, Standard accessory kit, Kjeltec 9 distillator
Including:
1pc,10000897,HandlingDeviceforDigestionTube
1 pc, 10000090, Digestion tube 250 ml
1pc,10000734,DigestionTube100ml
1 pc, 60027131, Power cord Schuko-C19
6 m, 15820011, Tubing reinforced for alkali
8 pcs, 15820051, Tube clamp
1 pc, 15820066, Water tube 3/4" 1/2"
1pc,60035904,HoodEtherconRJ45
1pc,60035906,User instruction for Hood Ethercon RJ45
1 pc, 60034845, Female cable connector C19
1 pc,60098003,USB User Documentation Kjeltec 9 Distillator
1 pc, 15860004, Hose Connector Straight 8x3/8"
3pc,60092749,ADAPTER 250ml,c400ml,750ml
3pc,60086659,SealingcCap
1pc,60100202,Pressure reducing valve 1.5 o
1pc,60100574,Rubber gasket3/4"
1pc,60086225,ADAPTER 100ml
1pc,60097952,Quick Guide Kjeltec 9 Distillator
1pc,60097954,Safety manual Kjeltec 9 Distillator
1 set, 60093219, Tanks with level sensors for Waste, Receiver,
Alkali and Water
60100196 PM Kit Kjeltec 9 Distillator 1
Local Supply AVR 5 Kva 1
UOM | :UNIT