## Sheet1
for fixed asset item set up
1. Supply of sight glass assembly uom lot
suitable for water level guage-size
20NB, C/C. 400mm, ASA 300. Inclusive
of Glass, Gaskets, Valves and Flanges.
2. 6ED1052-1MD08-OBA1 uom pcs
Siemens LOGO! 12/24RCE, logic module, display PS/I/O:12/24VDC/relay,8
DI (4 AI)/4 DQ, memory 400 blocks, modular expandable, Ethernet,
integrated web server, data log, user-defined web pages, standard microSD
card for LOGO! Soft Comfort V8.3 or higher, older projects executable cloud
connection in all LOGO! 8.3 basic units
3.6ED1052-2MD08-OBA1 uom pcs
Siemens LOGO! 12/24RCEO, logic module, PS/I/O:12/24VDC/relay,8
DI (4 AI)/4 DQ, without display, memory 400 blocks, modular expandable, Ethernet,
integrated web server, data log, user-defined web pages, standard microSD
card for LOGO! Soft Comfort V8.3 or higher, older projects executable cloud
connection in all LOGO! 8.3 basic units
4.6ED1055-1MBOO-OBA2 uom pcs
Siemens logo! DM8 12/24R, exp. Module PU/I/O:12,24V/12V/24V/relays,
2TE, 4 DI/4 DO for logo! 8
5. VFD Delta MS300 uom pcs
model: VFD17AMS23ANSAA
6. Keypad Controller for MS300 uom pcs
Delta Vfd Accessories Keypad for MS300
model: KPMS-LE01
7. Philips Head Screw Driver #2 uom pcs
6mmx200mm/8"
8. Flat Head Screw Driver 3.5mm uom pcs
6mmx200mm/8"
9. Pliers uom pcs
Artu combination pliers 8"
10. Long Nose Pliers uom pcs
Artu Long nose 8"
11. Side Cutters uom pcs
Artu Diagonal pliers 7"
12. 8" Adjustable wrench uom pcs
Artu adjustable wrench 8"