October 3, 2023

RFQ

PLAZA MARCELA

|  |  |  |  |
| --- | --- | --- | --- |
| **QTY** | **UNIT** | **DESCRIPTION** | **PURPOSE** |
| 1 | PC | SAKURA CONTROL TRANSFORMER  Input voltage - 240V / 480 V  Output voltage – 120V / 240V  Capacity – 200VA  Frequency 60Hz  Accuracy – Class 1 | REPLACEMENT  FIREPUMP ATS |
| 1 | PC | ANLY VOLTAGE RELAY  TYPE – AEVR-NH  Line : 3 x AC 277 – 519V 50/60Hz | SPARE  ATS 1 & 2 |
| 1 | PC | ANLY TIMER  AH3-N  AC 200 – 240V 50/60Hz | SPARE  ATS 1 & 2 |
| 6 | PCS | ANDELI LED PILOT LIGHT  AC 440VOLTS RED | LVSG  ATS 1 & 2  AND CAPACITOR BANK |
| 6 | PCS | ANDELI LED PILOT LIGHT  AC 440VOLTS YELLOW |
| 6 | PCS | ANDELI LED PILOT LIGHT  AC 440VOLTS BLUE |