Qty: 1

uom: unit

Description: Supply of 4 Membrane UF system, inclusive of the following:

- UN860 Membrane- pcs

- Control Panel

> Danfoss inverter- unit

> 150W power supply - unit

> Schneider PLC- unit

- Prominent Dosing Pump, with tank and frame- set

- SS304 Frame- lot

- PVC SCH80 pipe and fittings- lot

- PVC Filter Bag Housing - pc

- Ebara SS304 Pump 1.1kW and 1.5kW pumps- pc each

- 0.75kW Air Blower - pc

- 4' Pressure Gauge 0 - 2bar - pcs

- PVC Wafer Check Valve - pcs

- 24VDC Actuator valves- pcs

- PP Camlock - various sizes - lot

- Normah W4 hose clips - various sizes - lot

- Accessories package

> Filter Bag - pcs

> 1A and 2A Glass Fuse - pcs each

> Control Panel Fuse - pcs

> USB thumb drive with manual - pc

- FAT testing

- 3rd party SDI test report

- Crating and Fumigation of the unit

- 3-days on-site commissioning by technician

> Accommodation and local transportation to be covered by

Marcela Farms

for GP Farm Jagna Fixed Asset